## Foglio1
DATA | N° RUN | THGEM | ID | P (mbar) | Scan on | from | to | Other voltages
2019-12-03 | 5 ÷ 28 | FULL | 10 | 30.2 | Vind | 0 | 220 | VTG=220 Vdrift=1000
2019-12-04 | 29 ÷ 39 | FULL | 10 | 30.4 | VTG | 180 | 235 | Vind=120 Vdrift=1000
2019-12-04 | 40 ÷ 60 | FULL | 10 | 30.4 | Vdrift | 0 | 1500 | Vind=120 VTG=220
2019-12-04 | 61 ÷ 75 | FULL | 10 | 30.4 | Vind | 0 | 220 | VTG=200 Vdrift=1000
2019-12-04 | 76 ÷ 89 | FULL | 10 | 30.4 | Vind | 0 | 220 | VTG=230 Vdrift=1000
2019-12-05 | 90 ÷ 111 | FULL | 10 | 20.5 | Vind | 0 | 200 | VTG=200 Vdrift=1000
2019-12-06 | 112 ÷ 123 | FULL | 10 | 20.5 | VTG | 150 | 215 | Vind=100 Vdrift=1000
2019-12-06 | 124 ÷ 138 | FULL | 10 | 20.5 | Vdrift | 100 | 1200 | Vind=100 VTG=205
2019-12-09 | 139 ÷ 145 | FULL | 10 | 11 | Vind | 0 | 60 | VTG=180 Vdrift=800
2019-12-09 | 146 ÷ 152 | FULL | 10 | 11 | Vind | 0 | 60 | VTG=170 Vdrift=800
2019-12-09 | 153 ÷ 168 | FULL | 10 | 11 | Vind | 0 | 150 | VTG=170 Vdrift=600
2019-12-09 | 169 ÷ 183 | FULL | 10 | 11 | VTG | 130 | 210 | Vind=70 Vdrift=600
2019-12-09 | 184 ÷ 200 | FULL | 10 | 11 | Vdrift | 0 | 800 | Vind=70 VTG=190
2019-12-09 | 201 ÷ 206 | FULL | 10 | 11 | Vdrift | 600 | 850 | Vind=70 VTG=170
2020-02-20 | 430 ÷ 439 | FULL | 10 | 9.3 | VTG | 130 | 210 | Vind=50 Vdrift=400
2020-02-20 | 440 ÷ 444 | FULL | 10 | 9.3 | Vdrift | 200 | 600 | Vind=50 VTG=160
2019-12-11 | 207 ÷ 218 | ROW | R1 | 20.6 | Vind | 0 | 110 | VTG=220 Vdrift=800
2019-12-11 | 220 ÷ 226 | ROW | R1 | 20.6 | Vind, VTG, Vdrift
2019-12-11 | 227 ÷ 232 | ROW | R1 | 20.6 | VTG | 180 | 225 | Vind=50 Vdrift=800
2019-12-17 | 233 ÷ 244 | ROW | R1 | 30 | Vind | 0 | 110 | VTG=240 Vdrift=800
2019-12-17 | 245 ÷ 259 | ROW | R1 | 30 | Vdrift | 0 | 1400 | Vind=70 VTG=240
2019-12-18 | 260 ÷ 267 | ROW | R1 | 30 | VTG | 180 | 240 | Vind=70 Vdrift=800
2019-12-18 | 268 ÷ 282 | ROW | R1 | 30 | Vdrift | 0 | 1400 | Vind=70 VTG=230
2020-01-07 | 283 ÷ 299 | ROW | R1 | 42 | Vind | 0 | 180 | VTG=260 Vdrift=700
2020-01-07 | 300 ÷ 308 | ROW | R1 | 42 | VTG | 220 | 270 | Vind=80 Vdrift=700
2020-01-07 | 309 ÷ 322 | ROW | R1 | 31.9 | VTG | 170 | 245 | Vind=70 Vdrift=400
2020-01-07 | 323 ÷ 341 | ROW | R1 | 21.7 | VTG | 120 | 220 | Vind=80 Vdrift=300
2020-01-07 | 342 ÷ 352 | ROW | R1 | 10.4 | VTG | 140 | 205 | Vind=50 Vdrift=200
2020-02-04 | 354 ÷ 363 | ROW | R1 | 20.1 | Vdrift | 100 | 1000 | Vind=80 VTG=210
2020-02-04 | 364 ÷ 378 | ROW | R1 | 20.1 | Vind | 0 | 140 | VTG=210 Vdrift=800
2020-02-04 | 379 ÷ 396 | ROW | R1 | 10 | Vdrift | 0 | 800 | Vind=50 VTG=180

## Foglio2
FULL THGEM | [5 empty] | ROW THGEM
| P (mbar) | Vind (V) | VTG (V) | Vdrift (V) | Note |  | P (mbar) | Vind (V) | VTG (V) | Vdrift (V) | Note
Vind | 30 | - | 220 | 1000 |  | Vind | 20 | - | 220 | 800
| 30 | - | 200 | 1000 |  |  | 30 | - | 240 | 800
| 30 | - | 230 | 1000 |  |  | 40 | - | 260 | 700
| 20 | - | 200 | 1000 |  |  | 20 | - | 210 | 800
| 11 | - | 180 | 800 | Scan breve (0÷60V) per scariche su catodo | VTG | 20 | 50 | - | 800
| 11 | - | 170 | 800 | Scan breve (0÷60V) per scariche su catodo |  | 30 | 70 | - | 800
| 11 | - | 170 | 600 |  |  | 40 | 80 | - | 700
VTG | 30 | 120 | - | 1000 |  |  | 30 | 70 | - | 400
| 20 | 100 | - | 1000 |  |  | 20 | 80 | - | 300
| 11 | 70 | - | 600 |  |  | 10 | 50 | - | 200
| 9.3 | 50 | - | 400 | Scan fatto dopo il test col fascio | Vdrift | 30 | 70 | 240 | -
Vdrift | 30 | 120 | 220 | - |  |  | 30 | 70 | 230 | -
| 20 | 100 | 205 | - |  |  | 20 | 80 | 210 | -
| 11 | 70 | 190 | - |  |  | 10 | 50 | 180 | -
| 11 | 70 | 170 | -
| 9.3 | 50 | 160 | - | Scan fatto dopo il test col fascio

## 2° test con fascio
MXFC1 (pA) | TeBeFC (pA) | I_est (pA) | Flux (ppA) | Flux TeBeFC (pps) | Flux MXFC1 (pps) | Target thick. (mg/cm2) | Target thick. (atoms/cm2) | Rate_calc TeBeFC (pps) | Rate_calc MXFC1 (pps) | Rate_phdiode (pps)
900 | 400 |  | 50 | 312109862.6717 | 702247191.0112 | 9.6 | 2.936e+19 | 3215.0003 | 7233.7508 | 13.4
680 | 280 |  | 35 | 218476903.8702 | 530586766.5418 | 9.6 | 2.936e+19 | 2250.5002 | 5465.5006 | 8.8
220 | 100 |  | 12.5 | 78027465.6679 | 171660424.4694 | 9.6 | 2.936e+19 | 803.7501 | 1768.2502 | 2.5
100 | 60 |  | 7.5 | 46816479.4007 | 78027465.6679 | 9.6 | 2.936e+19 | 482.2501 | 803.7501 | 1.6
100 | NR | 45 | 5.625 | 35112359.5506 | 78027465.6679 | 0.972 | 2.9727e+18 | 36.6209 | 81.3797 | 0.2
250 | NR | 110 | 13.75 | 85830212.2347 | 195068664.1698 | 0.972 | 2.9727e+18 | 89.5177 | 203.4492 | 0.3
680 | 300 |  | 37.5 | 234082397.0037 | 530586766.5418 | 0.972 | 2.9727e+18 | 244.1391 | 553.3819 | 1
250 | 150 |  | 18.75 | 117041198.5019 | 195068664.1698 | 9.6 | 2.936e+19 | 1205.6251 | 2009.3752 | 3.4
250 | 160 |  | 20 | 124843945.0687 | 195068664.1698 | 0.972 | 2.9727e+18 | 130.2075 | 203.4492 | 0.3
M_at Au197 (amu) | M_at Au197 (g) | Carica elettr. (C) | Elettr. in 1 C | Elettr. in 1 pC
196.97 | 3.2697e-22 | 1.602e-19 | 6.2422e+18 | 6242197.2534
Rate = Flux*Target thick*Ruth diff cross section*Omega
Ruth diff cross section a 30° nel LAB (mb/sr) LISE |  | Ruth diff cross section a 30° nel LAB (cm2/sr) LISE
5980 |  | 5.98e-24
dist target-rivel (cm) | Area (cm2) | Omega
47 | 129.6 | 0.058669

## Rate sorgente
Attività sorgente (kBq) | Attività sorg (decad/s) | Distanza sorg-diaframma (mm) | Raggio diaframma (mm) | Semi-apertura cono (rad) | Omega cono (sr) | Rate (pps)
55 | 55000 | 25.5 | 3.25 | 0.12677 | 0.050418 | 220.6669

## Calcolo gain
G = gain | Ian = corrente anodo | Iprim = corrente part primarie | ne = num elettr | R = rate | c = fatt convers elettr-Coulomb
G = Ian/Iprim = Ian/(ne*R*c)
Iprim = ne*R*c
Carica elettr. (C) | c = Elettr. in 1 C |  | Perdita energia ( MeV) | Energia ionizz isobutano (eV) | ne
1.602e-19 | 6.2422e+18 |  | 1.1 | 23.4 | 47008.547
Ian (nA) | Ian (pps) | R (pps) | G
50 | 312109862671.6605 | 3215 | 2065.1409
50 | 312109862671.6605 | 7233 | 917.9356
|  | 220 | 0